{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":21,"n_cols":10,"rows_kept":21,"merged":[[0,0,0,9],[1,6,1,7],[20,0,20,9]],"flags":["formulas_cached_only"]}
["工程量报价清单"]
["序号","项目名称及特征","单位","工程量   （暂估）","不含税增值税综合单价","合价","甲方供应材料",null,"工程量计算规则","备 注"]
[{"$nulls":6},"材料名称","主材损耗或消耗量"]
[1,"立面块料拆除\n1、饰面材料种类：真石漆；\n2、部位：外墙面\n3、具体详施工图纸及施工现场","m2",{"v":30,"d":"30.00"},null,0,"/","/","按设计图示尺寸以㎡计算"]
[2,"立面块料拆除\n1、饰面材料种类：乳胶漆；\n2、部位：内墙面\n3、具体详施工图纸及施工现场","m2",{"v":20,"d":"20.00"},null,0,"/","/","按设计图示尺寸以㎡计算"]
[3,"天棚龙骨及饰面拆除\n1、位置：卫生间吊顶；\n2、材质：铝扣板\n3、具体详施工图纸及施工现场","m2",45.87,null,0,"/","/","按设计图示尺寸以㎡计算"]
[4,"管道拆除\n1、名称：卫生间管道拆除\n2、规格：直径50\n3、具体详施工图纸及施工现场","m",{"v":5.6,"d":"5.60"},null,0,"/","/","按设计图示尺寸以m计算"]
[5,"管道拆除\n1、名称：卫生间管道拆除\n2、规格：直径110\n3、具体详施工图纸及施工现场","m",{"v":36,"d":"36.00"},null,0,"/","/","按设计图示尺寸以m计算"]
[6,"外墙真石漆\n1、专用中和剂将碱性墙面进行中和处理；\n2、喷涂真石漆两遍；\n3、勾缝。\n4、具体详施工图纸及施工现场","m2",{"v":30,"d":"30.00"},null,0,"/","/","按设计图示尺寸以㎡计算"]
[7,"内墙乳胶漆\n1、内乳胶漆两度\n2、批腻子两度、挂网、敷设角条\n3、20厚1:3 防水砂浆找平(掺适量聚丙烯纤维\n4、基层墙面(刷界面处理剂一道\n5、具体详施工图纸及施工现场","m2",{"v":20,"d":"20.00"},null,0,"/","/","按设计图示尺寸以㎡计算"]
[8,"天棚铝合金龙骨\n1、吊顶天棚\n2、规格：600*600*0.8mm厚米自色铝扣板吊顶\n3、轻钢龙骨\n4、天棚吊筋\n5、天棚清理\n6、具体详施工图纸及施工现场","m2",45.87,null,0,"/","/","按设计图示尺寸以㎡计算"]
[9,"金属纱窗\n1、防蚊虫窗纱\n2、具体详施工现场","m2",{"v":7.8,"d":"7.80"},null,0,"/","/","按设计图示尺寸以㎡计算"]
[10,"普通灯具\n1、安装部位：1-3楼卫生间\n2、规格：600*600\n3、吊顶平板灯\n4、具体详施工图纸及施工现场","套",{"v":6,"d":"6.00"},null,0,"/","/","按设计图示尺寸以套计算"]
[11,"塑料管\n1、安装部位：1-3楼卫生间\n2、规格：PVC\n3、直径50\n4、具体详施工图纸及施工现场","m",{"v":5.6,"d":"5.60"},null,0,"/","/","按设计图示尺寸以m计算"]
[12,"塑料管\n1、安装部位：1-3楼卫生间\n2、规格：PVC\n3、直径110\n4、具体详施工图纸及施工现场","m",{"v":36,"d":"36.00"},null,0,"/","/","按设计图示尺寸以m计算"]
[13,"暂列金额用于工程实际发生费用","项",{"v":1,"d":"1.00"},5000,0,"/","/","具体金额以实际发生且双方共同确认为最终结算金额"]
[null,"合计（不含增值税）",{"$nulls":3},{"v":0,"d":"0.00"}]
[null,"安全文明施工费（2%）",{"$nulls":3},{"v":0,"d":"0.00"}]
[null,"增值税（9%）",{"$nulls":3},{"v":0,"d":"0.00"}]
[null,"合计（含增值税）",{"$nulls":3},{"v":0,"d":"0.00"}]
["  以上综合单价包括除增值税外完成招标内容所需的全部费用且综合单价不因工程量发生变化进行调整，包括但不限于人工费、材料设备采购费（甲供材料、设备除外）、辅材费、机械机具费、技术服务（包含但不限于施工测量放线等）、措施费（含脚手架）、临时设施费、保险费、停滞费、风雨季及冬季施工费、各种管理费、利润、规费、农民工综合保险、乙方自购材料的涨跌风险及自购材料检验试验费、各种补贴、质量缺陷整改费用，未交付前的半成品及成品保护费、自购材料的采管费、甲供材料的保管费、安全生产费、二次倒运费、安全文明施工费（包含但不限于项目安全生产管理等相关活动）、确保工程施工、质量、进度的一切措施费、临时设施费、窝工费、风雨季及冬季施工费、建筑红线内材料及机械设备搬运费、甲供材料进场卸货、码堆、配合取样送检和施工完后的余料清理、码堆、退库装卸等费用、以及政策性文件规定、合同所有责任、义务和风险费用等。    "]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}